Instructions for Collecting & Submitting Water Samples

Private water samples are accepted Monday to Thursday until 4pm.

(ALL PRIVATE WELL WATER)

Collecting Samples (DO NOT RINSE THE BOTTLES)

- REMOVE CLEAR PLASTIC SEAL

- Select faucet where you will drink water the most. Remove the screen or strainer from the end of the water faucet (if present).

- Clean faucet end with bleach or alcohol product.   Run the water for 5-10 minutes to flush the line and bring fresh sample from the well.

- Remove lid without putting it down. DO NOT touch the inside of the cap or bottle.

- Fill the bottle to the 100 mL line and replace the lid tightly.

When to Test Your Water

Bacterial safety (Coliform):

- annually

- new well construction

- repair of any part of the water system

- after a flood or surface run-off inundation

Nitrates:

- An annual water test for nitrates is recommended for households with infants, pregnant women, nursing mothers, or elderly people.

Order Form (DO NOT REMOVE YELLOW COPY)

*Complete all sections on the form clearly*

- Complete one test order form for each bottle used.

- Select the test(s) required (check boxes)

- Include payment. Checks to: Central District Health Department.

- The Central District Health Department does accept credit cards.

Submitting Samples (Samples over 30 hours old will be rejected)

- Samples will only be accepted Monday to Thursday until 4 pm

- Submit in person, or mail as soon as possible after collection.

- Mail samples early in the week to avoid Friday delivery.

- Use express OVERNIGHT postage ( UPS, FEDEX, etc.)

- Testing protocols require Coliform samples to arrive at the lab no later than 30 hours after being collected. Nitrate samples will be rejected if they are over 48 hours old.

*Samples Containing Chlorine will be rejected*

Cost of Testing

$27.00 – Coliform / E-Coli	          $25.00 - Nitrate

$25.00 – Hardness $25.00 - Fluoride  $25.00 - pH

Make checks payable to the Central District Health Department